## problem1_hourly
hour | base_load_mw | alk_mw | pem_mw | nh3_mw | total_load_mw | wind_mw | pv_mw | buy_mw | sell_mw
0:00-1:00 | 1.3698 | 10 | 10 | 0.75 | 22.1198 | 10.904 | 0 | 11.2158 | 0
1:00-2:00 | 1.0998 | 10 | 10 | 0.75 | 21.8498 | 15.152 | 0 | 6.6978 | 0
2:00-3:00 | 0.7998 | 10 | 10 | 0.75 | 21.5498 | 13.312 | 0 | 8.2378 | 0
3:00-4:00 | 0.99 | 10 | 10 | 0.75 | 21.74 | 15.072 | 0 | 6.668 | 0
4:00-5:00 | 1.1802 | 10 | 10 | 0.75 | 21.9302 | 18.724 | 0 | 3.2062 | 0
5:00-6:00 | 1.6302 | 10 | 10 | 0.75 | 22.3802 | 9.628 | 1.28 | 11.4722 | 0
6:00-7:00 | 2.5002 | 10 | 10 | 0.75 | 23.2502 | 22.804 | 7.68 | 0 | 7.2338
7:00-8:00 | 3.3702 | 10 | 10 | 0.75 | 24.1202 | 17.852 | 17.92 | 0 | 11.6518
8:00-9:00 | 4.0098 | 10 | 10 | 0.75 | 24.7598 | 14.328 | 28.8 | 0 | 18.3682
9:00-10:00 | 4.2 | 10 | 10 | 0.75 | 24.95 | 11.904 | 37.12 | 0 | 24.074
10:00-11:00 | 4.1202 | 10 | 10 | 0.75 | 24.8702 | 7.736 | 42.88 | 0 | 25.7458
11:00-12:00 | 3.9 | 10 | 10 | 0.75 | 24.65 | 8.556 | 44.8 | 0 | 28.706
12:00-13:00 | 3.2598 | 10 | 10 | 0.75 | 24.0098 | 14.52 | 46.08 | 0 | 36.5902
13:00-14:00 | 2.6898 | 10 | 10 | 0.75 | 23.4398 | 6.708 | 42.88 | 0 | 26.1482
14:00-15:00 | 3.63 | 10 | 10 | 0.75 | 24.38 | 11.176 | 37.12 | 0 | 23.916
15:00-16:00 | 3.8202 | 10 | 10 | 0.75 | 24.5702 | 10.108 | 28.8 | 0 | 14.3378
16:00-17:00 | 3.75 | 10 | 10 | 0.75 | 24.5 | 6.384 | 17.92 | 0.196 | 0
17:00-18:00 | 3.1398 | 10 | 10 | 0.75 | 23.8898 | 6.428 | 5.12 | 12.3418 | 0
18:00-19:00 | 2.61 | 10 | 10 | 0.75 | 23.36 | 5.736 | 0 | 17.624 | 0
19:00-20:00 | 2.1198 | 10 | 10 | 0.75 | 22.8698 | 3.752 | 0 | 19.1178 | 0
20:00-21:00 | 1.86 | 10 | 10 | 0.75 | 22.61 | 3.692 | 0 | 18.918 | 0
21:00-22:00 | 1.6302 | 10 | 10 | 0.75 | 22.3802 | 4.88 | 0 | 17.5002 | 0
22:00-23:00 | 1.56 | 10 | 10 | 0.75 | 22.31 | 2.5 | 0 | 19.81 | 0
23:00-24:00 | 1.4802 | 10 | 10 | 0.75 | 22.2302 | 3.192 | 0 | 19.0382 | 0

## problem1_summary
problem | scenario | target_ton | product_ton | total_use_mwh | renewable_mwh | buy_mwh | sell_mwh | self_use_ratio | green_ratio | export_ratio | margin_self_use | margin_green | margin_export | status | running_cost_yuan | comprehensive_cost_yuan | running_cost_per_ton | comprehensive_cost_per_ton
P1 | typical | 36 | 36 | 558.72 | 603.448 | 172.0438 | 216.7718 | 0.28156 | 0.69208 | 0.35922 | -0.31844 | 0.39208 | -0.15922 | partial | 155604.1619 | 157270.8286 | 4322.3378 | 4368.6341

## problem2_scenarios
problem | scenario | target_ton | product_ton | total_use_mwh | renewable_mwh | buy_mwh | sell_mwh | self_use_ratio | green_ratio | export_ratio | margin_self_use | margin_green | margin_export | status | running_cost_yuan | comprehensive_cost_yuan | running_cost_per_ton | comprehensive_cost_per_ton
P2 | 风电场景1-光伏场景1 | 72 | 72 | 1056.72 | 761.764 | 430.28 | 135.324 | 0.64471 | 0.59282 | 0.17765 | 0.044709 | 0.29282 | 0.022354 | full | 387678.3204 | 391011.6537 | 5384.4211 | 5430.7174
P2 | 风电场景1-光伏场景1 | 63 | 63 | 932.22 | 761.764 | 326.6262 | 156.1702 | 0.58998 | 0.64963 | 0.20501 | -0.010023 | 0.34963 | -0.0050113 | partial | 281619.7323 | 284953.0656 | 4470.1545 | 4523.0645
P2 | 风电场景1-光伏场景1 | 54 | 54 | 807.72 | 761.764 | 235.0722 | 189.1162 | 0.50348 | 0.70897 | 0.24826 | -0.096522 | 0.40897 | -0.048261 | partial | 198550.5393 | 201883.8726 | 3676.8618 | 3738.5902
P2 | 风电场景1-光伏场景1 | 45 | 45 | 683.22 | 761.764 | 233.2102 | 311.7542 | 0.18149 | 0.65866 | 0.40925 | -0.41851 | 0.35866 | -0.20925 | partial | 136065.6603 | 139398.9936 | 3023.6813 | 3097.7554
P2 | 风电场景1-光伏场景1 | 36 | 36 | 558.72 | 761.764 | 233.2102 | 436.2542 | -0.14538 | 0.5826 | 0.57269 | -0.74538 | 0.2826 | -0.37269 | partial | 74008.1103 | 77341.4436 | 2055.7808 | 2148.3734
P2 | 风电场景1-光伏场景2 | 72 | 72 | 1056.72 | 503.204 | 560.9662 | 7.4502 | 0.97039 | 0.46914 | 0.014806 | 0.37039 | 0.16914 | 0.18519 | full | 486504.5973 | 489837.9306 | 6757.0083 | 6803.3046
P2 | 风电场景1-光伏场景2 | 63 | 63 | 932.22 | 503.204 | 448.9924 | 19.9764 | 0.9206 | 0.51836 | 0.039698 | 0.3206 | 0.21836 | 0.1603 | full | 376914.1692 | 380247.5025 | 5982.7646 | 6035.6746
P2 | 风电场景1-光伏场景2 | 54 | 54 | 807.72 | 503.204 | 342.7184 | 38.2024 | 0.84816 | 0.5757 | 0.075918 | 0.24816 | 0.2757 | 0.12408 | full | 290466.7362 | 293800.0695 | 5379.0136 | 5440.742
P2 | 风电场景1-光伏场景2 | 45 | 45 | 683.22 | 503.204 | 298.3182 | 118.3022 | 0.5298 | 0.56336 | 0.2351 | -0.070196 | 0.26336 | -0.035098 | partial | 216511.8813 | 219845.2146 | 4811.3751 | 4885.4492
P2 | 风电场景1-光伏场景2 | 36 | 36 | 558.72 | 503.204 | 262.5022 | 206.9862 | 0.17733 | 0.53017 | 0.41134 | -0.42267 | 0.23017 | -0.21134 | partial | 144982.2693 | 148315.6026 | 4027.2853 | 4119.8779
P2 | 风电场景1-光伏场景3 | 72 | 72 | 1056.72 | 337.444 | 719.276 | 0 | 1 | 0.31933 | 0 | 0.4 | 0.019332 | 0.2 | full | 584475.8114 | 587809.1447 | 8117.7196 | 8164.0159
P2 | 风电场景1-光伏场景3 | 63 | 63 | 932.22 | 337.444 | 605.3822 | 10.6062 | 0.93714 | 0.3506 | 0.031431 | 0.33714 | 0.050602 | 0.16857 | full | 474070.3433 | 477403.6766 | 7524.9261 | 7577.8361
P2 | 风电场景1-光伏场景3 | 54 | 54 | 807.72 | 337.444 | 526.3 | 56.024 | 0.66795 | 0.34841 | 0.16602 | 0.067951 | 0.048413 | 0.033975 | full | 378442.3994 | 381775.7327 | 7008.1926 | 7069.921
P2 | 风电场景1-光伏场景3 | 45 | 45 | 683.22 | 337.444 | 426.558 | 80.782 | 0.52121 | 0.37567 | 0.23939 | -0.078788 | 0.075665 | -0.039394 | partial | 289179.9194 | 292513.2527 | 6426.2204 | 6500.2945
P2 | 风电场景1-光伏场景3 | 36 | 36 | 558.72 | 337.444 | 345.8904 | 124.6144 | 0.26142 | 0.38092 | 0.36929 | -0.33858 | 0.080924 | -0.16929 | partial | 205569.1442 | 208902.4775 | 5710.254 | 5802.8466
P2 | 风电场景1-光伏场景4 | 72 | 72 | 1056.72 | 272.804 | 783.916 | 0 | 1 | 0.25816 | 0 | 0.4 | -0.041839 | 0.2 | partial | 623968.5474 | 627301.8807 | 8666.2298 | 8712.5261
P2 | 风电场景1-光伏场景4 | 63 | 63 | 932.22 | 272.804 | 668.7422 | 9.3262 | 0.93163 | 0.28263 | 0.034186 | 0.33163 | -0.017365 | 0.16581 | partial | 513019.7193 | 516353.0526 | 8143.1701 | 8196.0802
P2 | 风电场景1-光伏场景4 | 54 | 54 | 807.72 | 272.804 | 565.34 | 30.424 | 0.77695 | 0.30008 | 0.11152 | 0.17695 | 7.9235e-05 | 0.088477 | full | 407067.9354 | 410401.2687 | 7538.2951 | 7600.0235
P2 | 风电场景1-光伏场景4 | 45 | 45 | 683.22 | 272.804 | 472.8282 | 62.4122 | 0.54244 | 0.30794 | 0.22878 | -0.057561 | 0.0079415 | -0.02878 | partial | 313429.5753 | 316762.9086 | 6965.1017 | 7039.1757
P2 | 风电场景1-光伏场景4 | 36 | 36 | 558.72 | 272.804 | 361.2504 | 75.3344 | 0.4477 | 0.35343 | 0.27615 | -0.1523 | 0.053432 | -0.076148 | partial | 225764.9202 | 229098.2535 | 6271.2478 | 6363.8404
P2 | 风电场景2-光伏场景1 | 72 | 72 | 1056.72 | 658.904 | 487.428 | 89.612 | 0.728 | 0.53873 | 0.136 | 0.128 | 0.23873 | 0.063998 | full | 416899.6404 | 420232.9737 | 5790.2728 | 5836.5691
P2 | 风电场景2-光伏场景1 | 63 | 63 | 932.22 | 658.904 | 380.7502 | 107.4342 | 0.6739 | 0.59157 | 0.16305 | 0.0739 | 0.29157 | 0.03695 | full | 309557.3643 | 312890.6976 | 4913.609 | 4966.519
P2 | 风电场景2-光伏场景1 | 54 | 54 | 807.72 | 658.904 | 284.6024 | 135.7864 | 0.58784 | 0.64765 | 0.20608 | -0.012158 | 0.34765 | -0.0060792 | partial | 225433.8942 | 228767.2275 | 4174.7017 | 4236.4301
P2 | 风电场景2-光伏场景1 | 45 | 45 | 683.22 | 658.904 | 263.2564 | 238.9404 | 0.27473 | 0.61468 | 0.36263 | -0.32527 | 0.31468 | -0.16263 | partial | 158477.4372 | 161810.7705 | 3521.7208 | 3595.7949
P2 | 风电场景2-光伏场景1 | 36 | 36 | 558.72 | 658.904 | 263.2564 | 363.4404 | -0.10317 | 0.52882 | 0.55158 | -0.70317 | 0.22882 | -0.35158 | partial | 96419.8872 | 99753.2205 | 2678.3302 | 2770.9228
P2 | 风电场景2-光伏场景2 | 72 | 72 | 1056.72 | 400.344 | 656.376 | 0 | 1 | 0.37886 | 0 | 0.4 | 0.078855 | 0.2 | full | 527047.0314 | 530380.3647 | 7320.0977 | 7366.394
P2 | 风电场景2-光伏场景2 | 63 | 63 | 932.22 | 400.344 | 541.3782 | 9.5022 | 0.95253 | 0.41926 | 0.023735 | 0.35253 | 0.11926 | 0.17626 | full | 416172.9153 | 419506.2486 | 6605.9193 | 6658.8293
P2 | 风电场景2-光伏场景2 | 54 | 54 | 807.72 | 400.344 | 424.912 | 17.536 | 0.9124 | 0.47394 | 0.043802 | 0.3124 | 0.17394 | 0.1562 | full | 327386.3724 | 330719.7057 | 6062.7106 | 6124.439
P2 | 风电场景2-光伏场景2 | 45 | 45 | 683.22 | 400.344 | 351.2742 | 68.3982 | 0.6583 | 0.48585 | 0.17085 | 0.058303 | 0.18585 | 0.029151 | full | 245440.7283 | 248774.0616 | 5454.2384 | 5528.3125
P2 | 风电场景2-光伏场景2 | 36 | 36 | 558.72 | 400.344 | 298.4522 | 140.0762 | 0.30022 | 0.46583 | 0.34989 | -0.29978 | 0.16583 | -0.14989 | partial | 169359.6693 | 172693.0026 | 4704.4353 | 4797.0279
P2 | 风电场景2-光伏场景3 | 72 | 72 | 1056.72 | 234.584 | 822.136 | 0 | 1 | 0.22199 | 0 | 0.4 | -0.078007 | 0.2 | partial | 628180.8554 | 631514.1887 | 8724.7341 | 8771.0304
P2 | 风电场景2-光伏场景3 | 63 | 63 | 932.22 | 234.584 | 705.2182 | 7.5822 | 0.93536 | 0.24351 | 0.032322 | 0.33536 | -0.056493 | 0.16768 | partial | 516491.6993 | 519825.0326 | 8198.2809 | 8251.191
P2 | 风电场景2-光伏场景3 | 54 | 54 | 807.72 | 234.584 | 616.5142 | 43.3782 | 0.63017 | 0.23672 | 0.18492 | 0.030169 | -0.063277 | 0.015085 | partial | 416779.3013 | 420112.6346 | 7718.1352 | 7779.8636
P2 | 风电场景2-光伏场景3 | 45 | 45 | 683.22 | 234.584 | 526.4464 | 77.8104 | 0.33661 | 0.22946 | 0.3317 | -0.26339 | -0.070537 | -0.1317 | none | 324580.4702 | 327913.8035 | 7212.8993 | 7286.9734
P2 | 风电场景2-光伏场景3 | 36 | 36 | 558.72 | 234.584 | 411.9984 | 87.8624 | 0.25091 | 0.2626 | 0.37455 | -0.34909 | -0.037397 | -0.17455 | none | 236257.1042 | 239590.4375 | 6562.6973 | 6655.2899
P2 | 风电场景2-光伏场景4 | 72 | 72 | 1056.72 | 169.944 | 886.776 | 0 | 1 | 0.16082 | 0 | 0.4 | -0.13918 | 0.2 | partial | 667673.5914 | 671006.9247 | 9273.2443 | 9319.5406
P2 | 风电场景2-光伏场景4 | 63 | 63 | 932.22 | 169.944 | 765.6318 | 3.3558 | 0.96051 | 0.1787 | 0.019747 | 0.36051 | -0.1213 | 0.18025 | partial | 554190.3285 | 557523.6618 | 8796.6719 | 8849.5819
P2 | 风电场景2-光伏场景4 | 54 | 54 | 807.72 | 169.944 | 652.9942 | 15.2182 | 0.8209 | 0.19156 | 0.089548 | 0.2209 | -0.10844 | 0.11045 | partial | 444318.1173 | 447651.4506 | 8228.1133 | 8289.8417
P2 | 风电场景2-光伏场景4 | 45 | 45 | 683.22 | 169.944 | 550.1264 | 36.8504 | 0.56632 | 0.1948 | 0.21684 | -0.033677 | -0.1052 | -0.016838 | none | 346685.6862 | 350019.0195 | 7704.1264 | 7778.2004
P2 | 风电场景2-光伏场景4 | 36 | 36 | 558.72 | 169.944 | 427.5886 | 38.8126 | 0.54323 | 0.2347 | 0.22838 | -0.056769 | -0.0653 | -0.028385 | none | 256505.7111 | 259839.0444 | 7125.1586 | 7217.7512
P2 | 风电场景3-光伏场景1 | 72 | 72 | 1056.72 | 780.84 | 402.2482 | 126.3682 | 0.67633 | 0.61934 | 0.16184 | 0.076328 | 0.31934 | 0.038164 | full | 377040.3619 | 380373.6952 | 5236.6717 | 5282.968
P2 | 风电场景3-光伏场景1 | 63 | 63 | 932.22 | 780.84 | 311.2944 | 159.9144 | 0.5904 | 0.66607 | 0.2048 | -0.0095958 | 0.36607 | -0.0047979 | partial | 276372.9238 | 279706.2571 | 4386.8718 | 4439.7819
P2 | 风电场景3-光伏场景1 | 54 | 54 | 807.72 | 780.84 | 229.8364 | 202.9564 | 0.48016 | 0.71545 | 0.25992 | -0.11984 | 0.41545 | -0.059921 | partial | 195620.7628 | 198954.0961 | 3622.6067 | 3684.3351
P2 | 风电场景3-光伏场景1 | 45 | 45 | 683.22 | 780.84 | 223.3262 | 320.9462 | 0.17795 | 0.67313 | 0.41103 | -0.42205 | 0.37313 | -0.21103 | partial | 132069.1219 | 135402.4552 | 2934.8694 | 3008.9434
P2 | 风电场景3-光伏场景1 | 36 | 36 | 558.72 | 780.84 | 223.3262 | 445.4462 | -0.14094 | 0.60029 | 0.57047 | -0.74094 | 0.30029 | -0.37047 | partial | 70011.5719 | 73344.9052 | 1944.7659 | 2037.3585
P2 | 风电场景3-光伏场景2 | 72 | 72 | 1056.72 | 522.28 | 538.1664 | 3.7264 | 0.98573 | 0.49072 | 0.0071349 | 0.38573 | 0.19072 | 0.19287 | full | 476536.2418 | 479869.5751 | 6618.5589 | 6664.8552
P2 | 风电场景3-光伏场景2 | 63 | 63 | 932.22 | 522.28 | 438.8926 | 28.9526 | 0.88913 | 0.5292 | 0.055435 | 0.28913 | 0.2292 | 0.14456 | full | 372336.9637 | 375670.297 | 5910.1105 | 5963.0206
P2 | 风电场景3-光伏场景2 | 54 | 54 | 807.72 | 522.28 | 336.4962 | 51.0562 | 0.80449 | 0.5834 | 0.097756 | 0.20449 | 0.2834 | 0.10224 | full | 286779.4399 | 290112.7732 | 5310.7304 | 5372.4588
P2 | 风电场景3-光伏场景2 | 45 | 45 | 683.22 | 522.28 | 278.0304 | 117.0904 | 0.55162 | 0.59306 | 0.22419 | -0.048382 | 0.29306 | -0.024191 | partial | 208992.0298 | 212325.3631 | 4644.2673 | 4718.3414
P2 | 风电场景3-光伏场景2 | 36 | 36 | 558.72 | 522.28 | 245.1004 | 208.6604 | 0.20096 | 0.56132 | 0.39952 | -0.39904 | 0.26132 | -0.19952 | partial | 138452.7448 | 141786.0781 | 3845.9096 | 3938.5022
P2 | 风电场景3-光伏场景3 | 72 | 72 | 1056.72 | 356.52 | 700.2 | 0 | 1 | 0.33738 | 0 | 0.4 | 0.037384 | 0.2 | full | 576088.209 | 579421.5423 | 8001.2251 | 8047.5214
P2 | 风电场景3-光伏场景3 | 63 | 63 | 932.22 | 356.52 | 599.0062 | 23.3062 | 0.86926 | 0.35744 | 0.065371 | 0.26926 | 0.057441 | 0.13463 | full | 471073.8909 | 474407.2242 | 7477.3633 | 7530.2734
P2 | 风电场景3-光伏场景3 | 54 | 54 | 807.72 | 356.52 | 522.284 | 71.084 | 0.60123 | 0.35338 | 0.19938 | 0.0012342 | 0.053385 | 0.00061708 | full | 376447.767 | 379781.1003 | 6971.2549 | 7032.9833
P2 | 风电场景3-光伏场景3 | 45 | 45 | 683.22 | 356.52 | 427.13 | 100.43 | 0.43661 | 0.37483 | 0.2817 | -0.16339 | 0.074828 | -0.081695 | partial | 288327.153 | 291660.4863 | 6407.2701 | 6481.3441
P2 | 风电场景3-光伏场景3 | 36 | 36 | 558.72 | 356.52 | 345.2962 | 143.0962 | 0.19726 | 0.38199 | 0.40137 | -0.40274 | 0.081987 | -0.20137 | partial | 203704.6149 | 207037.9482 | 5658.4615 | 5751.0541
P2 | 风电场景3-光伏场景4 | 72 | 72 | 1056.72 | 291.88 | 764.84 | 0 | 1 | 0.27621 | 0 | 0.4 | -0.023787 | 0.2 | partial | 615580.945 | 618914.2783 | 8549.7353 | 8596.0316
P2 | 风电场景3-光伏场景4 | 63 | 63 | 932.22 | 291.88 | 657.0718 | 16.7318 | 0.88535 | 0.29515 | 0.057324 | 0.28535 | -0.0048463 | 0.14268 | partial | 507775.7941 | 511109.1274 | 8059.9332 | 8112.8433
P2 | 风电场景3-光伏场景4 | 54 | 54 | 807.72 | 291.88 | 560.1022 | 44.2622 | 0.69671 | 0.30656 | 0.15165 | 0.09671 | 0.0065639 | 0.048355 | full | 404554.6489 | 407887.9822 | 7491.7528 | 7553.4812
P2 | 风电场景3-光伏场景4 | 45 | 45 | 683.22 | 291.88 | 468.0122 | 76.6722 | 0.47463 | 0.31499 | 0.26268 | -0.12537 | 0.01499 | -0.062684 | partial | 310596.1429 | 313929.4762 | 6902.1365 | 6976.2106
P2 | 风电场景3-光伏场景4 | 36 | 36 | 558.72 | 291.88 | 362.8224 | 95.9824 | 0.34232 | 0.35062 | 0.32884 | -0.25768 | 0.050619 | -0.12884 | partial | 224397.5338 | 227730.8671 | 6233.2648 | 6325.8574
P2 | 风电场景4-光伏场景1 | 72 | 72 | 1056.72 | 876.924 | 353.502 | 173.706 | 0.60383 | 0.66547 | 0.19809 | 0.0038288 | 0.36547 | 0.0019144 | full | 352101.6254 | 355434.9587 | 4890.3004 | 4936.5966
P2 | 风电场景4-光伏场景1 | 63 | 63 | 932.22 | 876.924 | 246.832 | 191.536 | 0.56316 | 0.73522 | 0.21842 | -0.036836 | 0.43522 | -0.018418 | partial | 252155.9294 | 255489.2627 | 4002.4751 | 4055.3851
P2 | 风电场景4-光伏场景1 | 54 | 54 | 807.72 | 876.924 | 188.9542 | 258.1582 | 0.41122 | 0.76606 | 0.29439 | -0.18878 | 0.46606 | -0.094391 | partial | 173449.3343 | 176782.6676 | 3212.0247 | 3273.7531
P2 | 风电场景4-光伏场景1 | 45 | 45 | 683.22 | 876.924 | 188.9542 | 382.6582 | 0.12727 | 0.72344 | 0.43636 | -0.47273 | 0.42344 | -0.23636 | partial | 111391.7843 | 114725.1176 | 2475.373 | 2549.4471
P2 | 风电场景4-光伏场景1 | 36 | 36 | 558.72 | 876.924 | 188.9542 | 507.1582 | -0.15668 | 0.66181 | 0.57834 | -0.75668 | 0.36181 | -0.37834 | partial | 49334.2343 | 52667.5676 | 1370.3954 | 1462.988
P2 | 风电场景4-光伏场景2 | 72 | 72 | 1056.72 | 618.364 | 448.0962 | 9.7402 | 0.9685 | 0.57596 | 0.015752 | 0.3685 | 0.27596 | 0.18425 | full | 441904.9973 | 445238.3306 | 6137.5694 | 6183.8657
P2 | 风电场景4-光伏场景2 | 63 | 63 | 932.22 | 618.364 | 353.7584 | 39.9024 | 0.87094 | 0.62052 | 0.064529 | 0.27094 | 0.32052 | 0.13547 | full | 339801.0512 | 343134.3845 | 5393.6675 | 5446.5775
P2 | 风电场景4-光伏场景2 | 54 | 54 | 807.72 | 618.364 | 267.272 | 77.916 | 0.74799 | 0.6691 | 0.126 | 0.14799 | 0.3691 | 0.073997 | full | 255620.3534 | 258953.6867 | 4733.7102 | 4795.4386
P2 | 风电场景4-光伏场景2 | 45 | 45 | 683.22 | 618.364 | 227.146 | 162.29 | 0.4751 | 0.66754 | 0.26245 | -0.1249 | 0.36754 | -0.062451 | partial | 183108.2264 | 186441.5597 | 4069.0717 | 4143.1458
P2 | 风电场景4-光伏场景2 | 36 | 36 | 558.72 | 618.364 | 203.0342 | 262.6782 | 0.15041 | 0.63661 | 0.4248 | -0.44959 | 0.33661 | -0.2248 | partial | 115517.0183 | 118850.3516 | 3208.8061 | 3301.3987
P2 | 风电场景4-光伏场景3 | 72 | 72 | 1056.72 | 452.604 | 604.116 | 0 | 1 | 0.42831 | 0 | 0.4 | 0.12831 | 0.2 | full | 539282.3674 | 542615.7007 | 7490.0329 | 7536.3292
P2 | 风电场景4-光伏场景3 | 63 | 63 | 932.22 | 452.604 | 506.416 | 26.8 | 0.88157 | 0.45676 | 0.059213 | 0.28157 | 0.15676 | 0.14079 | full | 435751.1674 | 439084.5007 | 6916.6852 | 6969.5952
P2 | 风电场景4-光伏场景3 | 54 | 54 | 807.72 | 452.604 | 414.7718 | 59.6558 | 0.73639 | 0.48649 | 0.13181 | 0.13639 | 0.18649 | 0.068194 | full | 342183.9235 | 345517.2568 | 6336.7393 | 6398.4677
P2 | 风电场景4-光伏场景3 | 45 | 45 | 683.22 | 452.604 | 338.8422 | 108.2262 | 0.52176 | 0.50405 | 0.23912 | -0.078238 | 0.20405 | -0.039119 | partial | 255091.3183 | 258424.6516 | 5668.696 | 5742.77
P2 | 风电场景4-光伏场景3 | 36 | 36 | 558.72 | 452.604 | 272.5864 | 166.4704 | 0.26439 | 0.51212 | 0.36781 | -0.33561 | 0.21212 | -0.16781 | partial | 174228.7522 | 177562.0855 | 4839.6876 | 4932.2802
P2 | 风电场景4-光伏场景4 | 72 | 72 | 1056.72 | 387.964 | 668.756 | 0 | 1 | 0.36714 | 0 | 0.4 | 0.06714 | 0.2 | full | 578775.1034 | 582108.4367 | 8038.5431 | 8084.8394
P2 | 风电场景4-光伏场景4 | 63 | 63 | 932.22 | 387.964 | 561.1118 | 16.8558 | 0.91311 | 0.39809 | 0.043447 | 0.31311 | 0.098091 | 0.15655 | full | 471022.5905 | 474355.9238 | 7476.5491 | 7529.4591
P2 | 风电场景4-光伏场景4 | 54 | 54 | 807.72 | 387.964 | 469.3022 | 49.5462 | 0.74458 | 0.41898 | 0.12771 | 0.14458 | 0.11898 | 0.072292 | full | 369991.8653 | 373325.1986 | 6851.7012 | 6913.4296
P2 | 风电场景4-光伏场景4 | 45 | 45 | 683.22 | 387.964 | 380.9722 | 85.7162 | 0.55812 | 0.44239 | 0.22094 | -0.041877 | 0.14239 | -0.020939 | partial | 277831.4993 | 281164.8326 | 6174.0333 | 6248.1074
P2 | 风电场景4-光伏场景4 | 36 | 36 | 558.72 | 387.964 | 287.9464 | 117.1904 | 0.39587 | 0.48463 | 0.30207 | -0.20413 | 0.18463 | -0.10207 | partial | 194424.5282 | 197757.8615 | 5400.6813 | 5493.2739
P2 | 风电场景5-光伏场景1 | 72 | 72 | 1056.72 | 819.42 | 395.9442 | 158.6442 | 0.61279 | 0.62531 | 0.19361 | 0.012789 | 0.32531 | 0.0063945 | full | 369542.2319 | 372875.5652 | 5132.531 | 5178.8273
P2 | 风电场景5-光伏场景1 | 63 | 63 | 932.22 | 819.42 | 305.3064 | 192.5064 | 0.53014 | 0.6725 | 0.23493 | -0.06986 | 0.3725 | -0.03493 | partial | 269008.9358 | 272342.2691 | 4269.9831 | 4322.8932
P2 | 风电场景5-光伏场景1 | 54 | 54 | 807.72 | 819.42 | 222.3924 | 234.0924 | 0.42864 | 0.72467 | 0.28568 | -0.17136 | 0.42467 | -0.085681 | partial | 187922.6228 | 191255.9561 | 3480.0486 | 3541.777
P2 | 风电场景5-光伏场景1 | 45 | 45 | 683.22 | 819.42 | 212.7502 | 348.9502 | 0.1483 | 0.68861 | 0.42585 | -0.4517 | 0.38861 | -0.22585 | partial | 123652.1879 | 126985.5212 | 2747.8264 | 2821.9005
P2 | 风电场景5-光伏场景1 | 36 | 36 | 558.72 | 819.42 | 212.7502 | 473.4502 | -0.15557 | 0.61922 | 0.57779 | -0.75557 | 0.31922 | -0.37779 | partial | 61594.6379 | 64927.9712 | 1710.9622 | 1803.5548
P2 | 风电场景5-光伏场景2 | 72 | 72 | 1056.72 | 560.86 | 505.7104 | 9.8504 | 0.96487 | 0.52143 | 0.017563 | 0.36487 | 0.22143 | 0.18244 | full | 461167.3478 | 464500.6811 | 6405.1021 | 6451.3983
P2 | 风电场景5-光伏场景2 | 63 | 63 | 932.22 | 560.86 | 406.7526 | 35.3926 | 0.87379 | 0.56367 | 0.063104 | 0.27379 | 0.26367 | 0.1369 | full | 357102.2117 | 360435.545 | 5668.2891 | 5721.1991
P2 | 风电场景5-光伏场景2 | 54 | 54 | 807.72 | 560.86 | 303.7442 | 56.8842 | 0.79715 | 0.62395 | 0.10142 | 0.19715 | 0.32395 | 0.098577 | full | 271404.2339 | 274737.5672 | 5026.0043 | 5087.7327
P2 | 风电场景5-光伏场景2 | 45 | 45 | 683.22 | 560.86 | 253.6064 | 131.2464 | 0.53198 | 0.62881 | 0.23401 | -0.068018 | 0.32881 | -0.034009 | partial | 197840.0588 | 201173.3921 | 4396.4458 | 4470.5198
P2 | 风电场景5-光伏场景2 | 36 | 36 | 558.72 | 560.86 | 233.6822 | 235.8222 | 0.15907 | 0.58175 | 0.42047 | -0.44093 | 0.28175 | -0.22047 | partial | 129349.9559 | 132683.2892 | 3593.0543 | 3685.6469
P2 | 风电场景5-光伏场景3 | 72 | 72 | 1056.72 | 395.1 | 661.62 | 0 | 1 | 0.37389 | 0 | 0.4 | 0.073893 | 0.2 | full | 558119.677 | 561453.0103 | 7751.6622 | 7797.9585
P2 | 风电场景5-光伏场景3 | 63 | 63 | 932.22 | 395.1 | 560.7422 | 23.6222 | 0.88042 | 0.39849 | 0.059788 | 0.28042 | 0.098487 | 0.14021 | full | 453239.5009 | 456572.8342 | 7194.2778 | 7247.1878
P2 | 风电场景5-光伏场景3 | 54 | 54 | 807.72 | 395.1 | 476.588 | 63.968 | 0.67619 | 0.40996 | 0.1619 | 0.076193 | 0.10996 | 0.038097 | full | 362645.413 | 365978.7463 | 6715.6558 | 6777.3842
P2 | 风电场景5-光伏场景3 | 45 | 45 | 683.22 | 395.1 | 388.9636 | 100.8436 | 0.48953 | 0.43069 | 0.25524 | -0.11047 | 0.13069 | -0.055236 | partial | 276665.4232 | 279998.7565 | 6148.1205 | 6222.1946
P2 | 风电场景5-光伏场景3 | 36 | 36 | 558.72 | 395.1 | 320.6582 | 157.0382 | 0.20507 | 0.42608 | 0.39746 | -0.39493 | 0.12608 | -0.19746 | partial | 192060.4519 | 195393.7852 | 5335.0126 | 5427.6051
P2 | 风电场景5-光伏场景4 | 72 | 72 | 1056.72 | 330.46 | 726.26 | 0 | 1 | 0.31272 | 0 | 0.4 | 0.012722 | 0.2 | full | 597612.413 | 600945.7463 | 8300.1724 | 8346.4687
P2 | 风电场景5-光伏场景4 | 63 | 63 | 932.22 | 330.46 | 624.1022 | 22.3422 | 0.86478 | 0.33052 | 0.067609 | 0.26478 | 0.03052 | 0.13239 | full | 492188.8769 | 495522.2102 | 7812.5219 | 7865.4319
P2 | 风电场景5-光伏场景4 | 54 | 54 | 807.72 | 330.46 | 532.932 | 55.672 | 0.66306 | 0.3402 | 0.16847 | 0.063064 | 0.040202 | 0.031532 | full | 391429.577 | 394762.9103 | 7248.6959 | 7310.4243
P2 | 风电场景5-光伏场景4 | 45 | 45 | 683.22 | 330.46 | 445.4784 | 92.7184 | 0.43885 | 0.34797 | 0.28057 | -0.16115 | 0.047972 | -0.080574 | partial | 299434.8938 | 302768.2271 | 6654.1088 | 6728.1828
P2 | 风电场景5-光伏场景4 | 36 | 36 | 558.72 | 330.46 | 338.4842 | 110.2242 | 0.3329 | 0.39418 | 0.33355 | -0.2671 | 0.094179 | -0.13355 | partial | 212822.1749 | 216155.5082 | 5911.7271 | 6004.3197
P2 | 风电场景6-光伏场景1 | 72 | 72 | 1056.72 | 715.76 | 431.7862 | 90.8262 | 0.74621 | 0.59139 | 0.12689 | 0.14621 | 0.29139 | 0.073105 | full | 393655.7049 | 396989.0382 | 5467.4403 | 5513.7366
P2 | 风电场景6-光伏场景1 | 63 | 63 | 932.22 | 715.76 | 339.4604 | 123.0004 | 0.65631 | 0.63586 | 0.17185 | 0.056308 | 0.33586 | 0.028154 | full | 292405.8528 | 295739.1861 | 4641.3627 | 4694.2728
P2 | 风电场景6-光伏场景1 | 54 | 54 | 807.72 | 715.76 | 257.4304 | 165.4704 | 0.53764 | 0.68129 | 0.23118 | -0.062363 | 0.38129 | -0.031181 | partial | 211522.4178 | 214855.7511 | 3917.0818 | 3978.8102
P2 | 风电场景6-光伏场景1 | 45 | 45 | 683.22 | 715.76 | 243.1862 | 275.7262 | 0.22956 | 0.64406 | 0.38522 | -0.37044 | 0.34406 | -0.18522 | partial | 146195.8239 | 149529.1572 | 3248.7961 | 3322.8702
P2 | 风电场景6-光伏场景1 | 36 | 36 | 558.72 | 715.76 | 243.1862 | 400.2262 | -0.11833 | 0.56474 | 0.55916 | -0.71833 | 0.26474 | -0.35916 | partial | 84138.2739 | 87471.6072 | 2337.1743 | 2429.7669
P2 | 风电场景6-光伏场景2 | 72 | 72 | 1056.72 | 457.2 | 599.52 | 0 | 1 | 0.43266 | 0 | 0.4 | 0.13266 | 0.2 | full | 503352.837 | 506686.1703 | 6991.0116 | 7037.3079
P2 | 风电场景6-光伏场景2 | 63 | 63 | 932.22 | 457.2 | 498.8742 | 23.8542 | 0.89565 | 0.46485 | 0.052175 | 0.29565 | 0.16485 | 0.14783 | full | 398571.1449 | 401904.4782 | 6326.5261 | 6379.4362
P2 | 风电场景6-光伏场景2 | 54 | 54 | 807.72 | 457.2 | 397.4258 | 46.9058 | 0.79481 | 0.50797 | 0.10259 | 0.19481 | 0.20797 | 0.097406 | full | 313231.1871 | 316564.5204 | 5800.5775 | 5862.3059
P2 | 风电场景6-光伏场景2 | 45 | 45 | 683.22 | 457.2 | 331.216 | 105.196 | 0.53983 | 0.51521 | 0.23009 | -0.060175 | 0.21521 | -0.030087 | partial | 233127.549 | 236460.8823 | 5180.6122 | 5254.6863
P2 | 风电场景6-光伏场景2 | 36 | 36 | 558.72 | 457.2 | 283.01 | 181.49 | 0.20608 | 0.49347 | 0.39696 | -0.39392 | 0.19347 | -0.19696 | partial | 158450.622 | 161783.9553 | 4401.4062 | 4493.9988
P2 | 风电场景6-光伏场景3 | 72 | 72 | 1056.72 | 291.44 | 765.28 | 0 | 1 | 0.2758 | 0 | 0.4 | -0.024203 | 0.2 | partial | 604486.661 | 607819.9943 | 8395.6481 | 8441.9444
P2 | 风电场景6-光伏场景3 | 63 | 63 | 932.22 | 291.44 | 662.7142 | 21.9342 | 0.84948 | 0.2891 | 0.075261 | 0.24948 | -0.010899 | 0.12474 | partial | 498889.9289 | 502223.2622 | 7918.8878 | 7971.7978
P2 | 风电场景6-光伏场景3 | 54 | 54 | 807.72 | 291.44 | 574.816 | 58.536 | 0.5983 | 0.28835 | 0.20085 | -0.0017019 | -0.011653 | -0.00085095 | none | 399519.593 | 402852.9263 | 7398.511 | 7460.2394
P2 | 风电场景6-光伏场景3 | 45 | 45 | 683.22 | 291.44 | 490.9504 | 99.1704 | 0.31945 | 0.28142 | 0.34028 | -0.28055 | -0.018583 | -0.14028 | none | 308758.6358 | 312091.9691 | 6861.303 | 6935.3771
P2 | 风电场景6-光伏场景3 | 36 | 36 | 558.72 | 291.44 | 389.0982 | 121.8182 | 0.16403 | 0.30359 | 0.41799 | -0.43597 | 0.00359 | -0.21799 | partial | 223326.0059 | 226659.3392 | 6203.5002 | 6296.0928
P2 | 风电场景6-光伏场景4 | 72 | 72 | 1056.72 | 226.8 | 829.92 | 0 | 1 | 0.21463 | 0 | 0.4 | -0.085374 | 0.2 | partial | 643979.397 | 647312.7303 | 8944.1583 | 8990.4546
P2 | 风电场景6-光伏场景4 | 63 | 63 | 932.22 | 226.8 | 715.7518 | 10.3318 | 0.90889 | 0.23221 | 0.045555 | 0.30889 | -0.067793 | 0.15445 | partial | 533457.4461 | 536790.7794 | 8467.5785 | 8520.4886
P2 | 风电场景6-光伏场景4 | 54 | 54 | 807.72 | 226.8 | 613.856 | 32.936 | 0.70956 | 0.24001 | 0.14522 | 0.10956 | -0.059986 | 0.05478 | partial | 428145.129 | 431478.4623 | 7928.6135 | 7990.3419
P2 | 风电场景6-光伏场景4 | 45 | 45 | 683.22 | 226.8 | 511.2504 | 54.8304 | 0.51649 | 0.2517 | 0.24176 | -0.083513 | -0.048295 | -0.041757 | none | 330088.1418 | 333421.4751 | 7335.292 | 7409.3661
P2 | 风电场景6-光伏场景4 | 36 | 36 | 558.72 | 226.8 | 397.7524 | 65.8324 | 0.41947 | 0.2881 | 0.29027 | -0.18053 | -0.011899 | -0.090266 | none | 241982.8008 | 245316.1341 | 6721.7445 | 6814.3371

## problem2_typical_summary
problem | scenario | target_ton | product_ton | total_use_mwh | renewable_mwh | buy_mwh | sell_mwh | self_use_ratio | green_ratio | export_ratio | margin_self_use | margin_green | margin_export | status | running_cost_yuan | comprehensive_cost_yuan | running_cost_per_ton | comprehensive_cost_per_ton | hours_on
P2 | typical | 72 | 72 | 1056.72 | 603.448 | 493.9522 | 40.6802 | 0.86517 | 0.53256 | 0.067413 | 0.26517 | 0.23256 | 0.13259 | full | 447778.0467 | 451111.38 | 6219.1395 | 6265.4358 | 0;1;2;3;4;5;6;7;8;9;10;11;12;13;14;15;16;17;18;19;20;21;22;23
P2 | typical | 63 | 63 | 932.22 | 603.448 | 376.0424 | 47.2704 | 0.84333 | 0.59662 | 0.078334 | 0.24333 | 0.29662 | 0.12167 | full | 335667.7866 | 339001.1199 | 5328.0601 | 5380.9702 | 0;1;2;3;4;5;6;7;8;9;10;11;12;13;14;15;16;17;21;22;23
P2 | typical | 54 | 54 | 807.72 | 603.448 | 264.1404 | 59.8684 | 0.80158 | 0.67298 | 0.099211 | 0.20158 | 0.37298 | 0.10079 | full | 247928.7276 | 251262.0609 | 4591.2727 | 4653.0011 | 0;1;2;3;4;5;6;7;8;9;10;11;12;13;14;15;16;23
P2 | typical | 45 | 45 | 683.22 | 603.448 | 227.684 | 147.912 | 0.50978 | 0.66675 | 0.24511 | -0.090223 | 0.36675 | -0.045111 | partial | 177504.4338 | 180837.7671 | 3944.543 | 4018.617 | 0;1;2;3;4;5;6;8;9;10;11;12;13;14;23
P2 | typical | 36 | 36 | 558.72 | 603.448 | 225.3022 | 270.0302 | 0.10504 | 0.59675 | 0.44748 | -0.49496 | 0.29675 | -0.24748 | partial | 114900.2607 | 118233.594 | 3191.6739 | 3284.2665 | 0;1;2;3;4;5;6;10;12;13;14;23

## problem2_year_summary
problem | target_ton | annual_cost_yuan | annual_product_ton | annual_avg_cost_per_ton | full_days | partial_days | none_days
P2 | 36 | 59439941.061 | 12960 | 4586.4152 | 0 | 315 | 45
P2 | 45 | 86903120.2245 | 16200 | 5364.3901 | 15 | 285 | 60
P2 | 54 | 116083703.463 | 19440 | 5971.3839 | 210 | 135 | 15
P2 | 63 | 149147857.2075 | 22680 | 6576.1842 | 210 | 150 | 0
P2 | 72 | 187374817.7385 | 25920 | 7228.9667 | 270 | 90 | 0

## problem3_scenarios
problem | scenario | target_ton | product_ton | total_use_mwh | renewable_mwh | buy_mwh | sell_mwh | self_use_ratio | green_ratio | export_ratio | margin_self_use | margin_green | margin_export | status | running_cost_yuan | comprehensive_cost_yuan | running_cost_per_ton | comprehensive_cost_per_ton
P3 | 风电场景1-光伏场景1 | 72 | 72 | 1056.72 | 761.764 | 430.28 | 135.324 | 0.64471 | 0.59282 | 0.17765 | 0.044709 | 0.29282 | 0.022354 | full | 387678.3204 | 391011.6537 | 5384.4211 | 5430.7174
P3 | 风电场景1-光伏场景1 | 63 | 63 | 932.22 | 761.764 | 305.78 | 135.324 | 0.64471 | 0.67199 | 0.17765 | 0.044709 | 0.37199 | 0.022354 | full | 277379.9304 | 280713.2637 | 4402.856 | 4455.7661
P3 | 风电场景1-光伏场景1 | 54 | 54 | 807.72 | 761.764 | 238.9202 | 192.9642 | 0.49338 | 0.7042 | 0.25331 | -0.10662 | 0.4042 | -0.053312 | partial | 199978.0563 | 203311.3896 | 3703.2973 | 3765.0257
P3 | 风电场景1-光伏场景1 | 45 | 45 | 683.22 | 761.764 | 238.9202 | 317.4642 | 0.1665 | 0.6503 | 0.41675 | -0.4335 | 0.3503 | -0.21675 | partial | 137920.5063 | 141253.8396 | 3064.9001 | 3138.9742
P3 | 风电场景1-光伏场景1 | 36 | 36 | 558.72 | 761.764 | 238.9202 | 441.9642 | -0.16037 | 0.57238 | 0.58019 | -0.76037 | 0.27238 | -0.38019 | partial | 75862.9563 | 79196.2896 | 2107.3043 | 2199.8969
P3 | 风电场景1-光伏场景2 | 72 | 72 | 1056.72 | 503.204 | 560.9662 | 7.4502 | 0.97039 | 0.46914 | 0.014806 | 0.37039 | 0.16914 | 0.18519 | full | 486504.5973 | 489837.9306 | 6757.0083 | 6803.3046
P3 | 风电场景1-光伏场景2 | 63 | 63 | 932.22 | 503.204 | 436.4662 | 7.4502 | 0.97039 | 0.5318 | 0.014806 | 0.37039 | 0.2318 | 0.18519 | full | 371596.7973 | 374930.1306 | 5898.3619 | 5951.2719
P3 | 风电场景1-光伏场景2 | 54 | 54 | 807.72 | 503.204 | 311.9662 | 7.4502 | 0.97039 | 0.61377 | 0.014806 | 0.37039 | 0.31377 | 0.18519 | full | 279693.5373 | 283026.8706 | 5179.5099 | 5241.2383
P3 | 风电场景1-光伏场景2 | 45 | 45 | 683.22 | 503.204 | 253.0002 | 72.9842 | 0.70992 | 0.62969 | 0.14504 | 0.10992 | 0.32969 | 0.054961 | full | 204103.2903 | 207436.6236 | 4535.6287 | 4609.7027
P3 | 风电场景1-光伏场景2 | 36 | 36 | 558.72 | 503.204 | 253.0002 | 197.4842 | 0.21509 | 0.54718 | 0.39245 | -0.38491 | 0.24718 | -0.19245 | partial | 142045.7403 | 145379.0736 | 3945.715 | 4038.3076
P3 | 风电场景1-光伏场景3 | 72 | 72 | 1056.72 | 337.444 | 719.276 | 0 | 1 | 0.31933 | 0 | 0.4 | 0.019332 | 0.2 | full | 584475.8114 | 587809.1447 | 8117.7196 | 8164.0159
P3 | 风电场景1-光伏场景3 | 63 | 63 | 932.22 | 337.444 | 594.776 | 8.8818e-16 | 1 | 0.36198 | 2.6321e-18 | 0.4 | 0.061979 | 0.2 | full | 469568.0114 | 472901.3447 | 7453.4605 | 7506.3706
P3 | 风电场景1-光伏场景3 | 54 | 54 | 807.72 | 337.444 | 470.276 | 4.4409e-15 | 1 | 0.41777 | 1.316e-17 | 0.4 | 0.11777 | 0.2 | full | 358775.1404 | 362108.4737 | 6643.9841 | 6705.7125
P3 | 风电场景1-光伏场景3 | 45 | 45 | 683.22 | 337.444 | 345.776 | 4.4409e-15 | 1 | 0.4939 | 1.316e-17 | 0.4 | 0.1939 | 0.2 | full | 268144.8404 | 271478.1737 | 5958.7742 | 6032.8483
P3 | 风电场景1-光伏场景3 | 36 | 36 | 558.72 | 337.444 | 253.0002 | 31.7242 | 0.81197 | 0.54718 | 0.094013 | 0.21197 | 0.24718 | 0.10599 | full | 184795.2443 | 188128.5776 | 5133.2012 | 5225.7938
P3 | 风电场景1-光伏场景4 | 72 | 72 | 1056.72 | 272.804 | 783.916 | 0 | 1 | 0.25816 | 0 | 0.4 | -0.041839 | 0.2 | partial | 623968.5474 | 627301.8807 | 8666.2298 | 8712.5261
P3 | 风电场景1-光伏场景4 | 63 | 63 | 932.22 | 272.804 | 659.416 | 0 | 1 | 0.29264 | 0 | 0.4 | -0.0073609 | 0.2 | partial | 509060.7474 | 512394.0807 | 8080.3293 | 8133.2394
P3 | 风电场景1-光伏场景4 | 54 | 54 | 807.72 | 272.804 | 534.916 | 3.5527e-15 | 1 | 0.33775 | 1.3023e-17 | 0.4 | 0.037746 | 0.2 | full | 394152.9474 | 397486.2807 | 7299.1287 | 7360.8571
P3 | 风电场景1-光伏场景4 | 45 | 45 | 683.22 | 272.804 | 410.416 | 3.5527e-15 | 1 | 0.39929 | 1.3023e-17 | 0.4 | 0.099292 | 0.2 | full | 299715.1164 | 303048.4497 | 6660.3359 | 6734.41
P3 | 风电场景1-光伏场景4 | 36 | 36 | 558.72 | 272.804 | 285.916 | 5.3291e-15 | 1 | 0.48827 | 1.9534e-17 | 0.4 | 0.18827 | 0.2 | full | 209084.8164 | 212418.1497 | 5807.9116 | 5900.5042
P3 | 风电场景2-光伏场景1 | 72 | 72 | 1056.72 | 658.904 | 487.428 | 89.612 | 0.728 | 0.53873 | 0.136 | 0.128 | 0.23873 | 0.063998 | full | 416899.6404 | 420232.9737 | 5790.2728 | 5836.5691
P3 | 风电场景2-光伏场景1 | 63 | 63 | 932.22 | 658.904 | 362.928 | 89.612 | 0.728 | 0.61068 | 0.136 | 0.128 | 0.31068 | 0.063998 | full | 306566.9304 | 309900.2637 | 4866.1418 | 4919.0518
P3 | 风电场景2-光伏场景1 | 54 | 54 | 807.72 | 658.904 | 276.6322 | 127.8162 | 0.61203 | 0.65751 | 0.19398 | 0.012034 | 0.35751 | 0.006017 | full | 224704.4943 | 228037.8276 | 4161.1943 | 4222.9227
P3 | 风电场景2-光伏场景1 | 45 | 45 | 683.22 | 658.904 | 276.6322 | 252.3162 | 0.23413 | 0.59511 | 0.38293 | -0.36587 | 0.29511 | -0.18293 | partial | 162646.9443 | 165980.2776 | 3614.3765 | 3688.4506
P3 | 风电场景2-光伏场景1 | 36 | 36 | 558.72 | 658.904 | 276.6322 | 376.8162 | -0.14377 | 0.50488 | 0.57188 | -0.74377 | 0.20488 | -0.37188 | partial | 100589.3943 | 103922.7276 | 2794.1498 | 2886.7424
P3 | 风电场景2-光伏场景2 | 72 | 72 | 1056.72 | 400.344 | 656.376 | 0 | 1 | 0.37886 | 0 | 0.4 | 0.078855 | 0.2 | full | 527047.0314 | 530380.3647 | 7320.0977 | 7366.394
P3 | 风电场景2-光伏场景2 | 63 | 63 | 932.22 | 400.344 | 531.876 | 1.4211e-14 | 1 | 0.42945 | 3.5497e-17 | 0.4 | 0.12945 | 0.2 | full | 412139.2314 | 415472.5647 | 6541.8926 | 6594.8026
P3 | 风电场景2-光伏场景2 | 54 | 54 | 807.72 | 400.344 | 407.376 | 1.7764e-14 | 1 | 0.49565 | 4.4371e-17 | 0.4 | 0.19565 | 0.2 | full | 317661.6204 | 320994.9537 | 5882.6226 | 5944.351
P3 | 风电场景2-光伏场景2 | 45 | 45 | 683.22 | 400.344 | 290.7122 | 7.8362 | 0.96085 | 0.5745 | 0.019574 | 0.36085 | 0.2745 | 0.18043 | full | 228829.7283 | 232163.0616 | 5085.1051 | 5159.1791
P3 | 风电场景2-光伏场景2 | 36 | 36 | 558.72 | 400.344 | 290.7122 | 132.3362 | 0.33889 | 0.47968 | 0.33056 | -0.26111 | 0.17968 | -0.13056 | partial | 166772.1783 | 170105.5116 | 4632.5605 | 4725.1531
P3 | 风电场景2-光伏场景3 | 72 | 72 | 1056.72 | 234.584 | 822.136 | 0 | 1 | 0.22199 | 0 | 0.4 | -0.078007 | 0.2 | partial | 628180.8554 | 631514.1887 | 8724.7341 | 8771.0304
P3 | 风电场景2-光伏场景3 | 63 | 63 | 932.22 | 234.584 | 697.636 | 0 | 1 | 0.25164 | 0 | 0.4 | -0.04836 | 0.2 | partial | 513273.0554 | 516606.3887 | 8147.1914 | 8200.1014
P3 | 风电场景2-光伏场景3 | 54 | 54 | 807.72 | 234.584 | 573.136 | 0 | 1 | 0.29043 | 0 | 0.4 | -0.0095726 | 0.2 | partial | 398453.0444 | 401786.3777 | 7378.7601 | 7440.4885
P3 | 风电场景2-光伏场景3 | 45 | 45 | 683.22 | 234.584 | 448.636 | 0 | 1 | 0.34335 | 0 | 0.4 | 0.043351 | 0.2 | full | 307822.7444 | 311156.0777 | 6840.5054 | 6914.5795
P3 | 风电场景2-光伏场景3 | 36 | 36 | 558.72 | 234.584 | 324.136 | 0 | 1 | 0.41986 | 0 | 0.4 | 0.11986 | 0.2 | full | 217192.4444 | 220525.7777 | 6033.1235 | 6125.716
P3 | 风电场景2-光伏场景4 | 72 | 72 | 1056.72 | 169.944 | 886.776 | 0 | 1 | 0.16082 | 0 | 0.4 | -0.13918 | 0.2 | partial | 667673.5914 | 671006.9247 | 9273.2443 | 9319.5406
P3 | 风电场景2-光伏场景4 | 63 | 63 | 932.22 | 169.944 | 762.276 | 0 | 1 | 0.1823 | 0 | 0.4 | -0.1177 | 0.2 | partial | 552765.7914 | 556099.1247 | 8774.0602 | 8826.9702
P3 | 风电场景2-光伏场景4 | 54 | 54 | 807.72 | 169.944 | 637.776 | 1.7764e-15 | 1 | 0.2104 | 1.0453e-17 | 0.4 | -0.0896 | 0.2 | partial | 437857.9914 | 441191.3247 | 8108.4813 | 8170.2097
P3 | 风电场景2-光伏场景4 | 45 | 45 | 683.22 | 169.944 | 513.276 | 1.7764e-15 | 1 | 0.24874 | 1.0453e-17 | 0.4 | -0.05126 | 0.2 | partial | 340482.7194 | 343816.0527 | 7566.2827 | 7640.3567
P3 | 风电场景2-光伏场景4 | 36 | 36 | 558.72 | 169.944 | 388.776 | 1.7764e-15 | 1 | 0.30417 | 1.0453e-17 | 0.4 | 0.0041667 | 0.2 | full | 249852.4194 | 253185.7527 | 6940.345 | 7032.9376
P3 | 风电场景3-光伏场景1 | 72 | 72 | 1056.72 | 780.84 | 402.2482 | 126.3682 | 0.67633 | 0.61934 | 0.16184 | 0.076328 | 0.31934 | 0.038164 | full | 377040.3619 | 380373.6952 | 5236.6717 | 5282.968
P3 | 风电场景3-光伏场景1 | 63 | 63 | 932.22 | 780.84 | 277.7482 | 126.3682 | 0.67633 | 0.70206 | 0.16184 | 0.076328 | 0.40206 | 0.038164 | full | 268674.0709 | 272007.4042 | 4264.6678 | 4317.5778
P3 | 风电场景3-光伏场景1 | 54 | 54 | 807.72 | 780.84 | 220.9844 | 194.1044 | 0.50283 | 0.72641 | 0.24858 | -0.097168 | 0.42641 | -0.048584 | partial | 194209.8058 | 197543.1391 | 3596.4779 | 3658.2063
P3 | 风电场景3-光伏场景1 | 45 | 45 | 683.22 | 780.84 | 220.9844 | 318.6044 | 0.18394 | 0.67655 | 0.40803 | -0.41606 | 0.37655 | -0.20803 | partial | 132152.2558 | 135485.5891 | 2936.7168 | 3010.7909
P3 | 风电场景3-光伏场景1 | 36 | 36 | 558.72 | 780.84 | 220.9844 | 443.1044 | -0.13494 | 0.60448 | 0.56747 | -0.73494 | 0.30448 | -0.36747 | partial | 70094.7058 | 73428.0391 | 1947.0752 | 2039.6678
P3 | 风电场景3-光伏场景2 | 72 | 72 | 1056.72 | 522.28 | 538.1664 | 3.7264 | 0.98573 | 0.49072 | 0.0071349 | 0.38573 | 0.19072 | 0.19287 | full | 476536.2418 | 479869.5751 | 6618.5589 | 6664.8552
P3 | 风电场景3-光伏场景2 | 63 | 63 | 932.22 | 522.28 | 413.6664 | 3.7264 | 0.98573 | 0.55626 | 0.0071349 | 0.38573 | 0.25626 | 0.19287 | full | 362818.7218 | 366152.0551 | 5759.0273 | 5811.9374
P3 | 风电场景3-光伏场景2 | 54 | 54 | 807.72 | 522.28 | 289.1664 | 3.7264 | 0.98573 | 0.642 | 0.0071349 | 0.38573 | 0.342 | 0.19287 | full | 272188.4218 | 275521.7551 | 5040.5263 | 5102.2547
P3 | 风电场景3-光伏场景2 | 45 | 45 | 683.22 | 522.28 | 235.0644 | 74.1244 | 0.71615 | 0.65595 | 0.14192 | 0.11615 | 0.35595 | 0.058075 | full | 198335.0398 | 201668.3731 | 4407.4453 | 4481.5194
P3 | 风电场景3-光伏场景2 | 36 | 36 | 558.72 | 522.28 | 235.0644 | 198.6244 | 0.23939 | 0.57928 | 0.3803 | -0.36061 | 0.27928 | -0.1803 | partial | 136277.4898 | 139610.8231 | 3785.4858 | 3878.0784
P3 | 风电场景3-光伏场景3 | 72 | 72 | 1056.72 | 356.52 | 700.2 | 0 | 1 | 0.33738 | 0 | 0.4 | 0.037384 | 0.2 | full | 576088.209 | 579421.5423 | 8001.2251 | 8047.5214
P3 | 风电场景3-光伏场景3 | 63 | 63 | 932.22 | 356.52 | 575.7 | 0 | 1 | 0.38244 | 0 | 0.4 | 0.082442 | 0.2 | full | 461180.409 | 464513.7423 | 7320.324 | 7373.234
P3 | 风电场景3-光伏场景3 | 54 | 54 | 807.72 | 356.52 | 451.2 | 0 | 1 | 0.44139 | 0 | 0.4 | 0.14139 | 0.2 | full | 352124.637 | 355457.9703 | 6520.8266 | 6582.555
P3 | 风电场景3-光伏场景3 | 45 | 45 | 683.22 | 356.52 | 326.7 | 0 | 1 | 0.52182 | 0 | 0.4 | 0.22182 | 0.2 | full | 261494.337 | 264827.6703 | 5810.9853 | 5885.0593
P3 | 风电场景3-光伏场景3 | 36 | 36 | 558.72 | 356.52 | 235.0644 | 32.8644 | 0.81564 | 0.57928 | 0.092181 | 0.21564 | 0.27928 | 0.10782 | full | 179026.9938 | 182360.3271 | 4972.9721 | 5065.5646
P3 | 风电场景3-光伏场景4 | 72 | 72 | 1056.72 | 291.88 | 764.84 | 0 | 1 | 0.27621 | 0 | 0.4 | -0.023787 | 0.2 | partial | 615580.945 | 618914.2783 | 8549.7353 | 8596.0316
P3 | 风电场景3-光伏场景4 | 63 | 63 | 932.22 | 291.88 | 640.34 | 0 | 1 | 0.3131 | 0 | 0.4 | 0.013102 | 0.2 | full | 500673.145 | 504006.4783 | 7947.1928 | 8000.1028
P3 | 风电场景3-光伏场景4 | 54 | 54 | 807.72 | 291.88 | 515.84 | 1.7764e-15 | 1 | 0.36136 | 6.0859e-18 | 0.4 | 0.061363 | 0.2 | full | 385765.345 | 389098.6783 | 7143.8027 | 7205.5311
P3 | 风电场景3-光伏场景4 | 45 | 45 | 683.22 | 291.88 | 391.34 | 1.7764e-15 | 1 | 0.42721 | 6.0859e-18 | 0.4 | 0.12721 | 0.2 | full | 292999.873 | 296333.2063 | 6511.1083 | 6585.1824
P3 | 风电场景3-光伏场景4 | 36 | 36 | 558.72 | 291.88 | 266.84 | 1.7764e-15 | 1 | 0.52241 | 6.0859e-18 | 0.4 | 0.22241 | 0.2 | full | 202369.573 | 205702.9063 | 5621.377 | 5713.9696
P3 | 风电场景4-光伏场景1 | 72 | 72 | 1056.72 | 876.924 | 353.502 | 173.706 | 0.60383 | 0.66547 | 0.19809 | 0.0038288 | 0.36547 | 0.0019144 | full | 352101.6254 | 355434.9587 | 4890.3004 | 4936.5966
P3 | 风电场景4-光伏场景1 | 63 | 63 | 932.22 | 876.924 | 229.002 | 173.706 | 0.60383 | 0.75435 | 0.19809 | 0.0038288 | 0.45435 | 0.0019144 | full | 244697.8544 | 248031.1877 | 3884.0929 | 3937.003
P3 | 风电场景4-光伏场景1 | 54 | 54 | 807.72 | 876.924 | 186.6846 | 255.8886 | 0.4164 | 0.76887 | 0.2918 | -0.1836 | 0.46887 | -0.091802 | partial | 173679.4181 | 177012.7514 | 3216.2855 | 3278.0139
P3 | 风电场景4-光伏场景1 | 45 | 45 | 683.22 | 876.924 | 186.6846 | 380.3886 | 0.13245 | 0.72676 | 0.43378 | -0.46755 | 0.42676 | -0.23378 | partial | 111621.8681 | 114955.2014 | 2480.486 | 2554.56
P3 | 风电场景4-光伏场景1 | 36 | 36 | 558.72 | 876.924 | 186.6846 | 504.8886 | -0.1515 | 0.66587 | 0.57575 | -0.7515 | 0.36587 | -0.37575 | partial | 49564.3181 | 52897.6514 | 1376.7866 | 1469.3792
P3 | 风电场景4-光伏场景2 | 72 | 72 | 1056.72 | 618.364 | 448.0962 | 9.7402 | 0.9685 | 0.57596 | 0.015752 | 0.3685 | 0.27596 | 0.18425 | full | 441904.9973 | 445238.3306 | 6137.5694 | 6183.8657
P3 | 风电场景4-光伏场景2 | 63 | 63 | 932.22 | 618.364 | 323.5962 | 9.7402 | 0.9685 | 0.65288 | 0.015752 | 0.3685 | 0.35288 | 0.18425 | full | 329358.6473 | 332691.9806 | 5227.915 | 5280.8251
P3 | 风电场景4-光伏场景2 | 54 | 54 | 807.72 | 618.364 | 200.7646 | 11.4086 | 0.9631 | 0.75144 | 0.01845 | 0.3631 | 0.45144 | 0.18155 | full | 239862.2021 | 243195.5354 | 4441.8926 | 4503.621
P3 | 风电场景4-光伏场景2 | 45 | 45 | 683.22 | 618.364 | 200.7646 | 135.9086 | 0.56043 | 0.70615 | 0.21979 | -0.039575 | 0.40615 | -0.019787 | partial | 177804.6521 | 181137.9854 | 3951.2145 | 4025.2886
P3 | 风电场景4-光伏场景2 | 36 | 36 | 558.72 | 618.364 | 200.7646 | 260.4086 | 0.15775 | 0.64067 | 0.42113 | -0.44225 | 0.34067 | -0.22113 | partial | 115747.1021 | 119080.4354 | 3215.1973 | 3307.7899
P3 | 风电场景4-光伏场景3 | 72 | 72 | 1056.72 | 452.604 | 604.116 | 0 | 1 | 0.42831 | 0 | 0.4 | 0.12831 | 0.2 | full | 539282.3674 | 542615.7007 | 7490.0329 | 7536.3292
P3 | 风电场景4-光伏场景3 | 63 | 63 | 932.22 | 452.604 | 479.616 | 0 | 1 | 0.48551 | 0 | 0.4 | 0.18551 | 0.2 | full | 424374.5674 | 427707.9007 | 6736.1042 | 6789.0143
P3 | 风电场景4-光伏场景3 | 54 | 54 | 807.72 | 452.604 | 355.116 | 8.8818e-15 | 1 | 0.56035 | 1.9624e-17 | 0.4 | 0.26035 | 0.2 | full | 317284.3954 | 320617.7287 | 5875.637 | 5937.3653
P3 | 风电场景4-光伏场景3 | 45 | 45 | 683.22 | 452.604 | 230.616 | 8.8818e-15 | 1 | 0.66246 | 1.9624e-17 | 0.4 | 0.36246 | 0.2 | full | 226654.0954 | 229987.4287 | 5036.7577 | 5110.8317
P3 | 风电场景4-光伏场景3 | 36 | 36 | 558.72 | 452.604 | 200.7646 | 94.6486 | 0.58176 | 0.64067 | 0.20912 | -0.01824 | 0.34067 | -0.0091201 | partial | 158496.6061 | 161829.9394 | 4402.6835 | 4495.2761
P3 | 风电场景4-光伏场景4 | 72 | 72 | 1056.72 | 387.964 | 668.756 | 0 | 1 | 0.36714 | 0 | 0.4 | 0.06714 | 0.2 | full | 578775.1034 | 582108.4367 | 8038.5431 | 8084.8394
P3 | 风电场景4-光伏场景4 | 63 | 63 | 932.22 | 387.964 | 544.256 | 0 | 1 | 0.41617 | 0 | 0.4 | 0.11617 | 0.2 | full | 463867.3034 | 467200.6367 | 7362.9731 | 7415.8831
P3 | 风电场景4-光伏场景4 | 54 | 54 | 807.72 | 387.964 | 419.756 | 0 | 1 | 0.48032 | 0 | 0.4 | 0.18032 | 0.2 | full | 348959.5034 | 352292.8367 | 6462.213 | 6523.9414
P3 | 风电场景4-光伏场景4 | 45 | 45 | 683.22 | 387.964 | 295.256 | 1.7764e-15 | 1 | 0.56785 | 4.5787e-18 | 0.4 | 0.26785 | 0.2 | full | 258159.6314 | 261492.9647 | 5736.8807 | 5810.9548
P3 | 风电场景4-光伏场景4 | 36 | 36 | 558.72 | 387.964 | 200.7646 | 30.0086 | 0.8453 | 0.64067 | 0.077349 | 0.2453 | 0.34067 | 0.12265 | full | 175167.2621 | 178500.5954 | 4865.7573 | 4958.3499
P3 | 风电场景5-光伏场景1 | 72 | 72 | 1056.72 | 819.42 | 395.9442 | 158.6442 | 0.61279 | 0.62531 | 0.19361 | 0.012789 | 0.32531 | 0.0063945 | full | 369542.2319 | 372875.5652 | 5132.531 | 5178.8273
P3 | 风电场景5-光伏场景1 | 63 | 63 | 932.22 | 819.42 | 271.4442 | 158.6442 | 0.61279 | 0.70882 | 0.19361 | 0.012789 | 0.40882 | 0.0063945 | full | 261237.5609 | 264570.8942 | 4146.628 | 4199.538
P3 | 风电场景5-光伏场景1 | 54 | 54 | 807.72 | 819.42 | 201.4524 | 213.1524 | 0.47975 | 0.75059 | 0.26013 | -0.12025 | 0.45059 | -0.060126 | partial | 186110.8098 | 189444.1431 | 3446.4965 | 3508.2249
P3 | 风电场景5-光伏场景1 | 45 | 45 | 683.22 | 819.42 | 201.4524 | 337.6524 | 0.17587 | 0.70514 | 0.41206 | -0.42413 | 0.40514 | -0.21206 | partial | 124053.2598 | 127386.5931 | 2756.7391 | 2830.8132
P3 | 风电场景5-光伏场景1 | 36 | 36 | 558.72 | 819.42 | 201.4524 | 462.1524 | -0.128 | 0.63944 | 0.564 | -0.728 | 0.33944 | -0.364 | partial | 61995.7098 | 65329.0431 | 1722.103 | 1814.6956
P3 | 风电场景5-光伏场景2 | 72 | 72 | 1056.72 | 560.86 | 505.7104 | 9.8504 | 0.96487 | 0.52143 | 0.017563 | 0.36487 | 0.22143 | 0.18244 | full | 461167.3478 | 464500.6811 | 6405.1021 | 6451.3983
P3 | 风电场景5-光伏场景2 | 63 | 63 | 932.22 | 560.86 | 381.2104 | 9.8504 | 0.96487 | 0.59107 | 0.017563 | 0.36487 | 0.29107 | 0.18244 | full | 349380.3278 | 352713.6611 | 5545.7195 | 5598.6295
P3 | 风电场景5-光伏场景2 | 54 | 54 | 807.72 | 560.86 | 256.7104 | 9.8504 | 0.96487 | 0.68218 | 0.017563 | 0.36487 | 0.38218 | 0.18244 | full | 258750.0278 | 262083.3611 | 4791.6672 | 4853.3956
P3 | 风电场景5-光伏场景2 | 45 | 45 | 683.22 | 560.86 | 215.5324 | 93.1724 | 0.66775 | 0.68453 | 0.16612 | 0.067752 | 0.38453 | 0.033876 | full | 190236.0438 | 193569.3771 | 4227.4676 | 4301.5417
P3 | 风电场景5-光伏场景2 | 36 | 36 | 558.72 | 560.86 | 215.5324 | 217.6724 | 0.22379 | 0.61424 | 0.3881 | -0.37621 | 0.31424 | -0.1881 | partial | 128178.4938 | 131511.8271 | 3560.5137 | 3653.1063
P3 | 风电场景5-光伏场景3 | 72 | 72 | 1056.72 | 395.1 | 661.62 | 0 | 1 | 0.37389 | 0 | 0.4 | 0.073893 | 0.2 | full | 558119.677 | 561453.0103 | 7751.6622 | 7797.9585
P3 | 风电场景5-光伏场景3 | 63 | 63 | 932.22 | 395.1 | 537.12 | 1.7764e-15 | 1 | 0.42383 | 4.496e-18 | 0.4 | 0.12383 | 0.2 | full | 443211.877 | 446545.2103 | 7035.1092 | 7088.0192
P3 | 风电场景5-光伏场景3 | 54 | 54 | 807.72 | 395.1 | 412.62 | 5.3291e-15 | 1 | 0.48915 | 1.3488e-17 | 0.4 | 0.18915 | 0.2 | full | 337280.785 | 340614.1183 | 6245.9405 | 6307.6689
P3 | 风电场景5-光伏场景3 | 45 | 45 | 683.22 | 395.1 | 288.12 | 5.3291e-15 | 1 | 0.57829 | 1.3488e-17 | 0.4 | 0.27829 | 0.2 | full | 246650.485 | 249983.8183 | 5481.1219 | 5555.196
P3 | 风电场景5-光伏场景3 | 36 | 36 | 558.72 | 395.1 | 215.5324 | 51.9124 | 0.73722 | 0.61424 | 0.13139 | 0.13722 | 0.31424 | 0.068609 | full | 170927.9978 | 174261.3311 | 4747.9999 | 4840.5925
P3 | 风电场景5-光伏场景4 | 72 | 72 | 1056.72 | 330.46 | 726.26 | 0 | 1 | 0.31272 | 0 | 0.4 | 0.012722 | 0.2 | full | 597612.413 | 600945.7463 | 8300.1724 | 8346.4687
P3 | 风电场景5-光伏场景4 | 63 | 63 | 932.22 | 330.46 | 601.76 | 1.7764e-15 | 1 | 0.35449 | 5.3754e-18 | 0.4 | 0.054487 | 0.2 | full | 482704.613 | 486037.9463 | 7661.978 | 7714.888
P3 | 风电场景5-光伏场景4 | 54 | 54 | 807.72 | 330.46 | 477.26 | 1.7764e-15 | 1 | 0.40913 | 5.3754e-18 | 0.4 | 0.10913 | 0.2 | full | 368786.321 | 372119.6543 | 6829.3763 | 6891.1047
P3 | 风电场景5-光伏场景4 | 45 | 45 | 683.22 | 330.46 | 352.76 | 1.7764e-15 | 1 | 0.48368 | 5.3754e-18 | 0.4 | 0.18368 | 0.2 | full | 278156.021 | 281489.3543 | 6181.2449 | 6255.319
P3 | 风电场景5-光伏场景4 | 36 | 36 | 558.72 | 330.46 | 228.26 | 5.3291e-15 | 1 | 0.59146 | 1.6126e-17 | 0.4 | 0.29146 | 0.2 | full | 187525.721 | 190859.0543 | 5209.0478 | 5301.6404
P3 | 风电场景6-光伏场景1 | 72 | 72 | 1056.72 | 715.76 | 431.7862 | 90.8262 | 0.74621 | 0.59139 | 0.12689 | 0.14621 | 0.29139 | 0.073105 | full | 393655.7049 | 396989.0382 | 5467.4403 | 5513.7366
P3 | 风电场景6-光伏场景1 | 63 | 63 | 932.22 | 715.76 | 307.2862 | 90.8262 | 0.74621 | 0.67037 | 0.12689 | 0.14621 | 0.37037 | 0.073105 | full | 285021.8739 | 288355.2072 | 4524.1567 | 4577.0668
P3 | 风电场景6-光伏场景1 | 54 | 54 | 807.72 | 715.76 | 239.1444 | 147.1844 | 0.58873 | 0.70393 | 0.20563 | -0.011267 | 0.40393 | -0.0056337 | partial | 208396.8578 | 211730.1911 | 3859.2011 | 3920.9295
P3 | 风电场景6-光伏场景1 | 45 | 45 | 683.22 | 715.76 | 239.1444 | 271.6844 | 0.24085 | 0.64997 | 0.37957 | -0.35915 | 0.34997 | -0.17957 | partial | 146339.3078 | 149672.6411 | 3251.9846 | 3326.0587
P3 | 风电场景6-光伏场景1 | 36 | 36 | 558.72 | 715.76 | 239.1444 | 396.1844 | -0.10703 | 0.57198 | 0.55352 | -0.70703 | 0.27198 | -0.35352 | partial | 84281.7578 | 87615.0911 | 2341.1599 | 2433.7525
P3 | 风电场景6-光伏场景2 | 72 | 72 | 1056.72 | 457.2 | 599.52 | 0 | 1 | 0.43266 | 0 | 0.4 | 0.13266 | 0.2 | full | 503352.837 | 506686.1703 | 6991.0116 | 7037.3079
P3 | 风电场景6-光伏场景2 | 63 | 63 | 932.22 | 457.2 | 475.02 | 2.8422e-14 | 1 | 0.49044 | 6.2165e-17 | 0.4 | 0.19044 | 0.2 | full | 388445.037 | 391778.3703 | 6165.7942 | 6218.7043
P3 | 风电场景6-光伏场景2 | 54 | 54 | 807.72 | 457.2 | 350.52 | 2.8422e-14 | 1 | 0.56604 | 6.2165e-17 | 0.4 | 0.26604 | 0.2 | full | 295837.905 | 299171.2383 | 5478.4797 | 5540.2081
P3 | 风电场景6-光伏场景2 | 45 | 45 | 683.22 | 457.2 | 253.2244 | 27.2044 | 0.881 | 0.62937 | 0.059502 | 0.281 | 0.32937 | 0.1405 | full | 212522.0918 | 215855.4251 | 4722.7132 | 4796.7872
P3 | 风电场景6-光伏场景2 | 36 | 36 | 558.72 | 457.2 | 253.2244 | 151.7044 | 0.33638 | 0.54678 | 0.33181 | -0.26362 | 0.24678 | -0.13181 | partial | 150464.5418 | 153797.8751 | 4179.5706 | 4272.1632
P3 | 风电场景6-光伏场景3 | 72 | 72 | 1056.72 | 291.44 | 765.28 | 0 | 1 | 0.2758 | 0 | 0.4 | -0.024203 | 0.2 | partial | 604486.661 | 607819.9943 | 8395.6481 | 8441.9444
P3 | 风电场景6-光伏场景3 | 63 | 63 | 932.22 | 291.44 | 640.78 | 0 | 1 | 0.31263 | 0 | 0.4 | 0.01263 | 0.2 | full | 489578.861 | 492912.1943 | 7771.093 | 7824.0031
P3 | 风电场景6-光伏场景3 | 54 | 54 | 807.72 | 291.44 | 516.28 | 7.1054e-15 | 1 | 0.36082 | 2.438e-17 | 0.4 | 0.060818 | 0.2 | full | 376629.329 | 379962.6623 | 6974.6172 | 7036.3456
P3 | 风电场景6-光伏场景3 | 45 | 45 | 683.22 | 291.44 | 391.78 | 7.1054e-15 | 1 | 0.42657 | 2.438e-17 | 0.4 | 0.12657 | 0.2 | full | 285999.029 | 289332.3623 | 6355.534 | 6429.6081
P3 | 风电场景6-光伏场景3 | 36 | 36 | 558.72 | 291.44 | 267.28 | 8.8818e-15 | 1 | 0.52162 | 3.0476e-17 | 0.4 | 0.22162 | 0.2 | full | 195368.729 | 198702.0623 | 5426.9091 | 5519.5017
P3 | 风电场景6-光伏场景4 | 72 | 72 | 1056.72 | 226.8 | 829.92 | 0 | 1 | 0.21463 | 0 | 0.4 | -0.085374 | 0.2 | partial | 643979.397 | 647312.7303 | 8944.1583 | 8990.4546
P3 | 风电场景6-光伏场景4 | 63 | 63 | 932.22 | 226.8 | 705.42 | 0 | 1 | 0.24329 | 0 | 0.4 | -0.05671 | 0.2 | partial | 529071.597 | 532404.9303 | 8397.9619 | 8450.8719
P3 | 风电场景6-光伏场景4 | 54 | 54 | 807.72 | 226.8 | 580.92 | 0 | 1 | 0.28079 | 0 | 0.4 | -0.01921 | 0.2 | partial | 414163.797 | 417497.1303 | 7669.6999 | 7731.4283
P3 | 风电场景6-光伏场景4 | 45 | 45 | 683.22 | 226.8 | 456.42 | 0 | 1 | 0.33196 | 0 | 0.4 | 0.031957 | 0.2 | full | 318077.904 | 321411.2373 | 7068.3979 | 7142.4719
P3 | 风电场景6-光伏场景4 | 36 | 36 | 558.72 | 226.8 | 331.92 | 0 | 1 | 0.40593 | 0 | 0.4 | 0.10593 | 0.2 | full | 227447.604 | 230780.9373 | 6317.989 | 6410.5816

## problem3_year_summary
problem | target_ton | annual_cost_yuan | annual_product_ton | annual_avg_cost_per_ton | full_days | partial_days | none_days
P3 | 36 | 55786946.9925 | 12960 | 4304.5484 | 165 | 195 | 0
P3 | 45 | 82363826.769 | 16200 | 5084.1868 | 240 | 120 | 0
P3 | 54 | 111319595.8935 | 19440 | 5726.3167 | 240 | 120 | 0
P3 | 63 | 146649704.4285 | 22680 | 6466.0364 | 300 | 60 | 0
P3 | 72 | 187374817.7385 | 25920 | 7228.9667 | 270 | 90 | 0

## problem4_no_storage
problem | scenario | target_ton | product_ton | total_use_mwh | renewable_mwh | buy_mwh | sell_mwh | self_use_ratio | green_ratio | export_ratio | margin_self_use | margin_green | margin_export | status | running_cost_yuan | comprehensive_cost_yuan | running_cost_per_ton | comprehensive_cost_per_ton | curtail_mwh | base_unserved_mwh
P4_no_storage | 风电场景1-光伏场景1 | max | 39.9844 | 613.8382 | 761.764 | 0 | 0 | 0.80581 | 1.241 | 0 | 0.20581 | 0.94099 | 0.2 | full | 165662.1314 | 168995.4648 | 4143.1641 | 4226.5299 | 147.9258 | 0
P4_no_storage | 风电场景1-光伏场景2 | max | 30.5373 | 483.152 | 503.204 | 0 | 0 | 0.96015 | 1.0415 | 0 | 0.36015 | 0.7415 | 0.2 | full | 118880.1589 | 122213.4923 | 3892.9552 | 4002.1115 | 20.052 | 0
P4_no_storage | 风电场景1-光伏场景3 | max | 19.0932 | 324.8422 | 337.444 | 0 | 0 | 0.96266 | 1.0388 | 0 | 0.36266 | 0.73879 | 0.2 | full | 79904.045 | 83237.3783 | 4184.9541 | 4359.5366 | 12.6018 | 0
P4_no_storage | 风电场景1-光伏场景4 | max | 13.9099 | 253.14 | 272.804 | 0 | 0 | 0.92792 | 1.0777 | 0 | 0.32792 | 0.77768 | 0.2 | full | 63503.2424 | 66836.5757 | 4565.3337 | 4804.9716 | 19.664 | 0
P4_no_storage | 风电场景2-光伏场景1 | max | 36.096 | 559.9098 | 658.904 | 0 | 0 | 0.84976 | 1.1768 | 0 | 0.24976 | 0.8768 | 0.2 | full | 143748.496 | 147081.8293 | 3982.3941 | 4074.7404 | 98.9942 | 0.1382
P4_no_storage | 风电场景2-光伏场景2 | max | 23.8829 | 390.9618 | 400.344 | 0 | 0 | 0.97656 | 1.024 | 0 | 0.37656 | 0.724 | 0.2 | full | 92353.9022 | 95687.2355 | 3866.9481 | 4006.518 | 9.3822 | 0.1382
P4_no_storage | 风电场景2-光伏场景3 | max | 11.6156 | 221.2636 | 234.584 | 0 | 0 | 0.94322 | 1.0602 | 0 | 0.34322 | 0.7602 | 0.2 | full | 52004.8686 | 55338.2019 | 4477.1759 | 4764.1475 | 13.3204 | 0.1382
P4_no_storage | 风电场景2-光伏场景4 | max | 6.2485 | 147.0196 | 169.944 | 0 | 0 | 0.86511 | 1.1559 | 0 | 0.26511 | 0.85593 | 0.2 | full | 35297.6413 | 38630.9746 | 5648.9642 | 6182.4242 | 22.9244 | 0.1382
P4_no_storage | 风电场景3-光伏场景1 | max | 42.9218 | 654.4718 | 780.84 | 0 | 0 | 0.83816 | 1.1931 | 0 | 0.23816 | 0.89308 | 0.2 | full | 173422.0833 | 176755.4166 | 4040.418 | 4118.0786 | 126.3682 | 0
P4_no_storage | 风电场景3-光伏场景2 | max | 33.0964 | 518.5536 | 522.28 | 0 | 0 | 0.99287 | 1.0072 | 0 | 0.39287 | 0.70719 | 0.2 | full | 126009.3711 | 129342.7044 | 3807.3432 | 3908.0591 | 3.7264 | 0
P4_no_storage | 风电场景3-光伏场景3 | max | 21.3831 | 356.52 | 356.52 | 0 | 0 | 1 | 1 | 0 | 0.4 | 0.7 | 0.2 | full | 86584.3373 | 89917.6707 | 4049.1886 | 4205.0748 | 0 | 0
P4_no_storage | 风电场景3-光伏场景4 | max | 16.7104 | 291.88 | 291.88 | 0 | 0 | 1 | 1 | 0 | 0.4 | 0.7 | 0.2 | full | 71034.9128 | 74368.2461 | 4250.9501 | 4450.4271 | 0 | 0
P4_no_storage | 风电场景4-光伏场景1 | max | 46.1864 | 699.6322 | 876.924 | 0 | 0 | 0.79783 | 1.2534 | 0 | 0.19783 | 0.95341 | 0.2 | full | 193278.9599 | 196612.2933 | 4184.757 | 4256.9282 | 177.2918 | 0
P4_no_storage | 风电场景4-光伏场景2 | max | 39.3483 | 605.038 | 618.364 | 0 | 0 | 0.97845 | 1.022 | 0 | 0.37845 | 0.72203 | 0.2 | full | 150848.0302 | 154181.3636 | 3833.6617 | 3918.3753 | 13.326 | 0
P4_no_storage | 风电场景4-光伏场景3 | max | 28.0697 | 449.0182 | 452.604 | 0 | 0 | 0.99208 | 1.008 | 0 | 0.39208 | 0.70799 | 0.2 | full | 112147.9854 | 115481.3187 | 3995.3326 | 4114.0844 | 3.5858 | 0
P4_no_storage | 风电场景4-光伏场景4 | max | 23.397 | 384.3782 | 387.964 | 0 | 0 | 0.99076 | 1.0093 | 0 | 0.39076 | 0.70933 | 0.2 | full | 96598.5608 | 99931.8942 | 4128.6768 | 4271.1453 | 3.5858 | 0
P4_no_storage | 风电场景5-光伏场景1 | max | 43.3775 | 660.7758 | 819.42 | 0 | 0 | 0.80639 | 1.2401 | 0 | 0.20639 | 0.94009 | 0.2 | full | 179969.057 | 183302.3904 | 4148.9007 | 4225.7455 | 158.6442 | 0
P4_no_storage | 风电场景5-光伏场景2 | max | 35.4426 | 551.0096 | 560.86 | 0 | 0 | 0.98244 | 1.0179 | 0 | 0.38244 | 0.71788 | 0.2 | full | 135709.0788 | 139042.4121 | 3828.9797 | 3923.0284 | 9.8504 | 0
P4_no_storage | 风电场景5-光伏场景3 | max | 24.172 | 395.1 | 395.1 | 0 | 0 | 1 | 1 | 0 | 0.4 | 0.7 | 0.2 | full | 97022.319 | 100355.6524 | 4013.8228 | 4151.7232 | 1.7764e-15 | 0
P4_no_storage | 风电场景5-光伏场景4 | max | 19.4993 | 330.46 | 330.46 | 0 | 0 | 1 | 1 | 0 | 0.4 | 0.7 | 0.2 | full | 81472.8945 | 84806.2278 | 4178.252 | 4349.1986 | 1.7764e-15 | 0
P4_no_storage | 风电场景6-光伏场景1 | max | 40.7865 | 624.9338 | 715.76 | 0 | 0 | 0.87311 | 1.1453 | 0 | 0.27311 | 0.84534 | 0.2 | full | 160099.1528 | 163432.4861 | 3925.2938 | 4007.0201 | 90.8262 | 0
P4_no_storage | 风电场景6-光伏场景2 | max | 28.6612 | 457.2 | 457.2 | 0 | 0 | 1 | 1 | 0 | 0.4 | 0.7 | 0.2 | full | 108850.9359 | 112184.2692 | 3797.8493 | 3914.1505 | 8.8818e-16 | 0
P4_no_storage | 风电场景6-光伏场景3 | max | 16.6786 | 291.44 | 291.44 | 0 | 0 | 1 | 1 | 0 | 0.4 | 0.7 | 0.2 | full | 68976.6689 | 72310.0022 | 4135.6504 | 4335.5078 | 1.7764e-15 | 0
P4_no_storage | 风电场景6-光伏场景4 | max | 11.0052 | 212.9584 | 226.8 | 0 | 0 | 0.93897 | 1.065 | 0 | 0.33897 | 0.765 | 0.2 | full | 51758.5811 | 55091.9144 | 4703.1084 | 5005.996 | 13.8416 | 0

## problem4_storage
problem | scenario | target_ton | product_ton | total_use_mwh | renewable_mwh | buy_mwh | sell_mwh | self_use_ratio | green_ratio | export_ratio | margin_self_use | margin_green | margin_export | status | running_cost_yuan | comprehensive_cost_yuan | running_cost_per_ton | comprehensive_cost_per_ton | battery_e_mwh | battery_p_mw | solver_status | curtail_mwh | base_unserved_mwh
P4_storage | 风电场景1-光伏场景1 | max | 42.1167 | 643.3347 | 761.764 | 0 | 0 | 0.84453 | 1.1841 | 0 | 0.24453 | 0.88409 | 0.2 | full | 169218.0588 | 176255.0959 | 4017.8351 | 4184.9193 | 20 | 5 | discrete_storage_fallback | 112.8359 | 0
P4_storage | 风电场景1-光伏场景2 | max | 31.538 | 496.9959 | 503.204 | 0 | 0 | 0.98766 | 1.0125 | 0 | 0.38766 | 0.71249 | 0.2 | full | 120549.0972 | 127586.1343 | 3822.3425 | 4045.4712 | 20 | 5 | discrete_storage_fallback | 2.4502 | 0
P4_storage | 风电场景1-光伏场景3 | max | 19.8017 | 334.6442 | 337.444 | 0 | 0 | 0.9917 | 1.0084 | 0 | 0.3917 | 0.70837 | 0.2 | full | 81085.7152 | 88122.7522 | 4094.8766 | 4450.2512 | 20 | 5 | discrete_storage_fallback | 0 | 0
P4_storage | 风电场景1-光伏场景4 | max | 15.084 | 269.3825 | 272.804 | 0 | 0 | 0.98746 | 1.0127 | 0 | 0.38746 | 0.7127 | 0.2 | full | 65461.3477 | 72498.3847 | 4339.7761 | 4806.2981 | 20 | 5 | discrete_storage_fallback | 0 | 0
P4_storage | 风电场景2-光伏场景1 | max | 37.78 | 583.3433 | 658.904 | 0 | 0 | 0.88532 | 1.1295 | 0 | 0.28532 | 0.82953 | 0.2 | full | 146556.8483 | 153593.8854 | 3879.2177 | 4065.4812 | 20 | 5 | discrete_storage_fallback | 67.2011 | 0
P4_storage | 风电场景2-光伏场景2 | max | 24.451 | 398.9592 | 400.344 | 0 | 0 | 0.99654 | 1.0035 | 0 | 0.39654 | 0.70347 | 0.2 | full | 93301.3623 | 100338.3993 | 3815.8464 | 4103.6477 | 20 | 5 | discrete_storage_fallback | 0 | 0
P4_storage | 风电场景2-光伏场景3 | max | 12.4138 | 232.4446 | 234.584 | 0 | 0 | 0.99088 | 1.0092 | 0 | 0.39088 | 0.7092 | 0.2 | full | 53336.1205 | 60373.1575 | 4296.5101 | 4863.3811 | 20 | 5 | discrete_storage_fallback | 0 | 0
P4_storage | 风电场景2-光伏场景4 | max | 7.4762 | 164.1409 | 169.944 | 0 | 0 | 0.96585 | 1.0354 | 0 | 0.36585 | 0.73535 | 0.2 | full | 37345.031 | 44382.068 | 4995.1803 | 5936.4372 | 20 | 5 | discrete_storage_fallback | 0 | 0
P4_storage | 风电场景3-光伏场景1 | max | 44.217 | 672.3882 | 780.84 | 0 | 0 | 0.86111 | 1.1613 | 0 | 0.26111 | 0.86129 | 0.2 | full | 175581.975 | 182619.012 | 3970.9179 | 4130.0657 | 20 | 5 | discrete_storage_fallback | 103.8898 | 0
P4_storage | 风电场景3-光伏场景2 | max | 33.3141 | 521.5648 | 522.28 | 0 | 0 | 0.99863 | 1.0014 | 0 | 0.39863 | 0.70137 | 0.2 | full | 126372.3871 | 133409.4241 | 3793.3622 | 4004.5953 | 20 | 5 | discrete_storage_fallback | 0 | 0
P4_storage | 风电场景3-光伏场景3 | max | 21.3831 | 356.52 | 356.52 | 0 | 0 | 1 | 1 | 0 | 0.4 | 0.7 | 0.2 | full | 86584.3373 | 93621.3744 | 4049.1886 | 4378.2815 | 20 | 5 | discrete_storage_fallback | 0 | 0
P4_storage | 风电场景3-光伏场景4 | max | 16.7104 | 291.88 | 291.88 | 0 | 0 | 1 | 1 | 0 | 0.4 | 0.7 | 0.2 | full | 71034.9128 | 78071.9498 | 4250.9501 | 4672.0683 | 20 | 5 | discrete_storage_fallback | 0 | 0
P4_storage | 风电场景4-光伏场景1 | max | 47.6906 | 720.4395 | 876.924 | 0 | 0 | 0.82155 | 1.2172 | 0 | 0.22155 | 0.91721 | 0.2 | full | 195787.368 | 202824.405 | 4105.3689 | 4252.9251 | 20 | 5 | discrete_storage_fallback | 151.1618 | 0
P4_storage | 风电场景4-光伏场景2 | max | 40.1248 | 615.7798 | 618.364 | 0 | 0 | 0.99582 | 1.0042 | 0 | 0.39582 | 0.7042 | 0.2 | full | 152142.9978 | 159180.0348 | 3791.7443 | 3967.1231 | 20 | 5 | discrete_storage_fallback | 0 | 0
P4_storage | 风电场景4-光伏场景3 | max | 28.2793 | 451.9169 | 452.604 | 0 | 0 | 0.99848 | 1.0015 | 0 | 0.39848 | 0.70152 | 0.2 | full | 112497.4346 | 119534.4716 | 3978.0851 | 4226.9257 | 20 | 5 | discrete_storage_fallback | 0 | 0
P4_storage | 风电场景4-光伏场景4 | max | 23.6065 | 387.2769 | 387.964 | 0 | 0 | 0.99823 | 1.0018 | 0 | 0.39823 | 0.70177 | 0.2 | full | 96948.01 | 103985.0471 | 4106.8316 | 4404.9287 | 20 | 5 | discrete_storage_fallback | 0 | 0
P4_storage | 风电场景5-光伏场景1 | max | 44.6727 | 678.6922 | 819.42 | 0 | 0 | 0.82826 | 1.2074 | 0 | 0.22826 | 0.90735 | 0.2 | full | 182128.9488 | 189165.9858 | 4076.9644 | 4234.4888 | 20 | 5 | discrete_storage_fallback | 136.1444 | 0
P4_storage | 风电场景5-光伏场景2 | max | 35.974 | 558.3604 | 560.86 | 0 | 0 | 0.99554 | 1.0045 | 0 | 0.39554 | 0.70448 | 0.2 | full | 136595.2507 | 143632.2877 | 3797.0542 | 3992.6687 | 20 | 5 | discrete_storage_fallback | 0.7422 | 0
P4_storage | 风电场景5-光伏场景3 | max | 24.172 | 395.1 | 395.1 | 0 | 0 | 1 | 1 | 0 | 0.4 | 0.7 | 0.2 | full | 97022.319 | 104059.3561 | 4013.8228 | 4304.9457 | 20 | 5 | discrete_storage_fallback | 0 | 0
P4_storage | 风电场景5-光伏场景4 | max | 19.4993 | 330.46 | 330.46 | 0 | 0 | 1 | 1 | 0 | 0.4 | 0.7 | 0.2 | full | 81472.8945 | 88509.9315 | 4178.252 | 4539.1391 | 20 | 5 | discrete_storage_fallback | 0 | 0
P4_storage | 风电场景6-光伏场景1 | max | 42.0817 | 642.8502 | 715.76 | 0 | 0 | 0.89814 | 1.1134 | 0 | 0.29814 | 0.81342 | 0.2 | full | 162259.0445 | 169296.0816 | 3855.8103 | 4023.0335 | 20 | 5 | discrete_storage_fallback | 68.4025 | 0
P4_storage | 风电场景6-光伏场景2 | max | 28.6612 | 457.2 | 457.2 | 0 | 0 | 1 | 1 | 0 | 0.4 | 0.7 | 0.2 | full | 108850.9359 | 115887.9729 | 3797.8493 | 4043.3741 | 20 | 5 | discrete_storage_fallback | 0 | 0
P4_storage | 风电场景6-光伏场景3 | max | 16.6786 | 291.44 | 291.44 | 0 | 0 | 1 | 1 | 0 | 0.4 | 0.7 | 0.2 | full | 68976.6689 | 76013.706 | 4135.6504 | 4557.5717 | 20 | 5 | discrete_storage_fallback | 0 | 0
P4_storage | 风电场景6-光伏场景4 | max | 11.9016 | 225.3593 | 226.8 | 0 | 0 | 0.99365 | 1.0064 | 0 | 0.39365 | 0.70639 | 0.2 | full | 53253.5559 | 60290.5929 | 4474.4749 | 5065.7414 | 20 | 5 | discrete_storage_fallback | 0 | 0

## problem4_storage_config
max_curtail_scenario | battery_e_mwh | battery_p_mw | target_product_ton | target_feasible | annual_cost_yuan | annual_product_ton | annual_avg_cost_per_ton
风电场景4-光伏场景1 | 20 | 5 | 47.4681 | TRUE | 42648772.6608 | 10044.4265 | 4246.0137

## validation_checks
check | value | pass
xlsx_count | 8 | TRUE
hours | 24 | TRUE
scenario_count | 24 | TRUE
problem2_targets | 72,63,54,45,36 | TRUE
problem3_lp_status | analytic_optimal | TRUE
scipy_available | False | TRUE
pulp_available | False | TRUE
strict_milp_solver_available | False | TRUE
problem4_solver_status | discrete_storage_fallback | TRUE
problem4_storage_e_nonnegative | 20.0 | TRUE